## AlarmPiSensors
				Sensor
id	Name	Description	Zone	Group	MCP address	Bank	Pin	Typeof	Decimal code	operable	norm_closed	override_on	is_triggered	is_armed	has_tamper	tamper_overr_on	tamper_triggered
0	ctl_sw1	Zone 1: SW	-1	ctl	0	0	0	8	1	1	0	0	0	0	0	0	0
1	ctl_sw2	Zone 2: SW	-1	ctl	0	0	1	8	2	1	0	0	0	0	0	0	0
2	ctl_sw3	Zone 3: SW	-1	ctl	0	0	2	8	4	1	0	0	0	0	0	0	0
3	ctl_sw4	Zone 4: SW	-1	ctl	0	0	3	8	8	1	0	0	0	0	0	0	0
4	ctl_sw5	Zone 5: SW	-1	ctl	0	0	4	8	16	1	0	0	0	0	0	0	0
5	ctl_sw6	Zone 6: SW	-1	ctl	0	0	5	8	32	1	0	0	0	0	0	0	0
6	ctl_sw7	Zone 7: SW	-1	ctl	0	0	6	8	64	1	0	0	0	0	0	0	0
7	ctl_sw8	Zone 8: SW	-1	ctl	0	0	7	8	128	1	0	0	0	0	0	0	0
8	ctl_led1	Zone 1: LED	-1	led	0	1	0	9	1	1	0	0	0	0	0	0	0
9	ctl_led2	Zone 2: LED	-1	led	0	1	1	9	2	1	0	0	0	0	0	0	0
10	ctl_led3	Zone 3: LED	-1	led	0	1	2	9	4	1	0	0	0	0	0	0	0
11	ctl_led4	Zone 4: LED	-1	led	0	1	3	9	8	1	0	0	0	0	0	0	0
12	ctl_led5	Zone 5: LED	-1	led	0	1	4	9	16	1	0	0	0	0	0	0	0
13	ctl_led6	Zone 6: LED	-1	led	0	1	5	9	32	1	0	0	0	0	0	0	0
14	ctl_led7	Zone 7: LED	-1	led	0	1	6	9	64	1	0	0	0	0	0	0	0
15	ctl_led8	Zone 8: LED	-1	led	0	1	7	9	128	1	0	0	0	0	0	0	0
16	pir01	Master Bedroom PIR	3	alm	1	0	0	1	1	1	1	0	0	0	1	0	0
17	gls01	Master Glass break	0	alm	1	0	1	2	2	0	1	0	0	0	1	0	0
18	pir02	Meg Bed PIR	3	alm	1	0	2	1	4	1	1	0	0	0	1	0	0
19	pir03	Spare Bed PIR	3	alm	1	0	3	1	8	1	1	0	0	0	1	0	0
20	pir04	Study 1 & 2 PIR	4	alm	1	0	4	1	16	1	1	0	0	0	1	0	0
21	pir05	Hall 1 & 2 PIR	3	alm	1	0	5	1	32	1	1	0	0	0	1	0	0
22	door01	Master French Door MAG	0	alm	1	0	6	0	64	0	1	0	0	0	0	0	0
23	door02	Front Door MAG	0	alm	1	0	7	0	128	0	1	0	0	0	0	0	0
24	pirt01	Master Bedroom PIR TAM	3	tam	1	1	0	1	1	0	1	0	0	0	1	0	0
25	glst01	Master Glass break TAM	0	tam	1	1	1	2	2	0	1	0	0	0	1	0	0
26	pirt02	Meg Bed PIR TAM	3	tam	1	1	2	1	4	0	1	0	0	0	1	0	0
27	pirt03	Spare Bed PIR TAM	3	tam	1	1	3	1	8	0	1	0	0	0	1	0	0
28	pirt04	Study 1 & 2 PIR TAM	4	tam	1	1	4	1	16	0	1	0	0	0	1	0	0
29	pirt05	Hall 1 & 2 PIR TAM	3	tam	1	1	5	1	32	0	1	0	0	0	1	0	0
30	mt	not used	-1	mt	1	1	6	0	64	0	1	0	0	0	0	0	0
31	key	Front Door Keyswitch TAM	0	tam	1	1	7	0	128	0	1	0	0	0	0	0	0
32	pir06	Lounge/Dining 1 & 2 PIR	4	alm	2	0	0	1	1	1	1	0	0	0	1	0	0
33	gls02	Lounge Glass break	0	alm	2	0	1	2	2	0	1	0	0	0	1	0	0
34	gls03	Dining Glass break	0	alm	2	0	2	2	4	0	1	0	0	0	1	0	0
35	pir07	Kitchen PIR	5	alm	2	0	3	1	8	0	1	0	0	0	1	0	0
36	door03	Back Door MAG	1	alm	2	0	4	0	16	0	1	0	0	0	0	0	0
37	door04	Lounge French Door MAG	0	alm	2	0	5	0	32	0	1	0	0	0	0	0	0
38	door05	Dining French Door MAG	0	alm	2	0	6	0	64	0	1	0	0	0	0	0	0
39	mt	not used 1	-1	mt	2	0	7	0	128	0	0	0	0	0	0	0	0
40	pirt06	Lounge/Dining 1 & 2 PIR TAM	4	tam	2	1	0	1	1	0	1	0	0	0	1	0	0
41	glst02	Lounge Glass break TAM	0	tam	2	1	1	2	2	0	1	0	0	0	1	0	0
42	glst03	Dining Glass break TAM	0	tam	2	1	2	2	4	0	1	0	0	0	1	0	0
43	pirt07	Kitchen PIR TAM	5	tam	2	1	3	1	8	0	1	0	0	0	1	0	0
44	mt	not used	-1	mt	2	1	4	0	16	0	1	0	0	0	0	0	0
45	mt	not used	-1	mt	2	1	5	0	32	0	1	0	0	0	0	0	0
46	mt	not used	-1	mt	2	1	6	0	64	0	1	0	0	0	0	0	0
47	mt	not used	-1	mt	2	1	7	0	128	0	0	0	0	0	0	0	0
48	door05	Kitchen/Dining MAG	2	alm	3	0	0	0	1	0	1	0	0	0	0	0	0
49	door06	Kitchen/Hall MAG	2	alm	3	0	1	0	2	0	1	0	0	0	0	0	0
50	fen01	Electric Fence	6	alm	3	0	2	4	4	0	0	0	0	0	0	0	0
51	fen02	Motor gate	6	alm	3	0	3	4	8	0	0	0	0	0	0	0	0
52	mt	not used	-1	mt	3	0	4	4	16	0	0	0	0	0	0	0	0
53	mt	not used	6	mt	3	0	5	3	32	0	1	0	0	0	0	0	0
54	mt	not used	-1	mt	3	0	6	5	64	0	0	0	0	0	0	0	0
55	mt	not used	-1	mt	3	0	7	9	128	0	0	0	0	0	0	0	0
56	pan01	Master PANIC	9	pan	3	1	0	9	1	1	1	0	0	0	0	0	0
57	pan02	Meg Bed PANIC	9	pan	3	1	1	9	2	1	1	0	0	0	0	0	0
58	pan03	Front Door PANIC	9	pan	3	1	2	9	4	0	0	0	0	0	0	0	0
59	fire01	Heat/Fire	9	pan	3	1	3	9	8	0	0	0	0	0	0	0	0
60	mt	not used	-1	mt	3	1	4	9	16	0	0	0	0	0	0	0	0
61	mt	not used	-1	mt	3	1	5	9	32	0	1	0	0	0	0	0	0
62	mt	not used	-1	mt	3	1	6	9	64	0	0	0	0	0	0	0	0
63	mt	not used	-1	mt	3	1	7	9	128	0	0	0	0	0	0	0	0

## Sensor Types
Sensor Types		Description
0		on/off switch, n/c, eg magnetic reed, no tamper
1		on/off switch, n/c, eg pir relay, with n/c tamper switch
2		glass break sensor, with tamper
3		input from sub-system such as electric fence
4		panic switch, n/o
5		fire sensor, n/o
6		not used
7		not used
8		not used
9		not used

## Zones
Zone	Name	Sensors
0	House perimeter 1	Front door, Dining room french door, Lounge french door, Main bedroom french door
1	House perimeter 2	Kitchen door
2	Inner perimeter	Kitchen/Dining room interleading door, Kitchen/Hall interleading door
3	Inner space 1	Hall, Passage, Main Bedroom, Meg’s bedroom, Spare bedroom
4	Inner space 2	Lounge, Dining room, Study
5	Inner space 3	Kitchen
6	Outer perimeter	Electric fence, Motor Gate
7	Outer space	Beams, Garage, Outbuildings

Actually only 8 zones, but panics are on all the time and are allocated zone 10
What if tamper contacts be allocated zone 10+parent zone no. Thus inner space 1 sensor, in zone 3, hall pir (id 32) could be in zone 13, and house perim 1, zone 0, sensor keyswitch (id 32) could be in zone 10